## P-39 Trends
Timeline: Works in Excel 2013 or higher. Do not move or resize.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Limits
Limit | Value | Channel Key
Bus 1F Alert | 1000 | Bus 1F Amps
Bus 1G Alert | 1000 | Bus 1G Amps
P-39A Seal Flow Alert | 35 | P-39A Seal Flow
P-39 Seal Flow Alert | 35 | P-39B Seal Flow
P-39A Seal Flow eSOMs Action | 8 | P-39A Seal Flow
P-39B Seal Flow eSOMs Action | 8 | P-39B Seal Flow
P-39A Seal Flow eSOMs Alert | 18 | P-39A Seal Flow
P-39B Seal Flow eSOMs Alert | 18 | P-39B Seal Flow
P-39A Thrust Bearing Temp Action | 167 | P-39A Thrust Bearing Temp
P-39A Amp Lower Action | 740 | P-39A Amps
P-39A Amp Lower Alert | 775 | P-39A Amps
P-39A Amp Upper Action | 840 | P-39A Amps
P-39A Amp Upper Alert | 805 | P-39A Amps
P-39B Amp Lower Action | 705 | P-39B Amps
P-39B Amp Lower Alert | 740 | P-39B Amps
P-39B Amp Upper Action | 805 | P-39B Amps
P-39B Amp Upper Alert | 770 | P-39B Amps
P-39B Thrust Bearing Temp Action | 167 | P-39B Thrust Bearing Temp
P-40 Discharge P Lower Action | 6 | P-40A Discharge P
P-40 Discharge P Lower Action | 6 | P-40B Discharge P
P-40 Discharge P Lower Alert | 9 | P-40A Discharge P
P-40 Discharge P Lower Alert | 9 | P-40B Discharge P
P-40 Discharge P Upper Action | 12 | P-40A Discharge P
P-40 Discharge P Upper Action | 12 | P-40B Discharge P
P-40 Discharge P Upper Alert | 13 | P-40A Discharge P
P-40 Discharge P Upper Alert | 13 | P-40B Discharge P
P-40A Amp Lower Action | 145 | P-40A Amps
P-40A Amp Lower Alert | 150 | P-40A Amps
P-40A Amp Upper Action | 171 | P-40A Amps
P-40A Amp Upper Alert | 160 | P-40A Amps
P-40B Amp Lower Action | 145 | P-40B Amps
P-40B Amp Lower Alert | 162 | P-40B Amps
P-40B Amp Upper Action | 175 | P-40B Amps
P-40B Amp Upper Alert | 172 | P-40B Amps

## Channel List
eSOMS Channel | System Code | Equipment Trend Code | TP | Categorgy | Channel
SERVICE WATER BAY LEVEL | SWS | P-40 | TP | Level | SW Bay Level
BUS 1F AMPS | CWS | CT |  | Amps | BUS 1F Amps
BUS 1G AMPS | CWS | CT |  | Amps | BUS 1G Amps
COOLING TOWER PUMP P-39A MOTOR AMPS | CWS | P-39 |  | Amps | P-39A Amps
COOLING TOWER PUMP P-39B MOTOR AMPS | CWS | P-39 |  | Amps | P-39B Amps
DILUTION WATER PUMP P-40A MOTOR AMPS | CWS | P-40 |  | Amps | P-40A Amps
DILUTION WATER PUMP P-40B MOTOR AMPS | CWS | P-40 |  | Amps | P-40B Amps
COOLING TOWER P-39A THRUST BEARING TEMPERATURE | CWS | P-39 |  | Temp | P-39A Thrust Bearing Temp
COOLING TOWER P-39A UPPER BEARING TEMPERATURE | CWS | P-39 |  | Temp | P-39A Upper Bearing Temp
COOLING TOWER P-39A LOWER BEARING TEMPERATURE | CWS | P-39 |  | Temp | P-39A Lower Bearing Temp
COOLING TOWER P-39B THRUST BEARING TEMPERATURE | CWS | P-39 |  | Temp | P-39B Thrust Bearing Temp
COOLING TOWER P-39B UPPER BEARING TEMPERATURE | CWS | P-39 |  | Temp | P-39B Upper Bearing Temp
COOLING TOWER P-39B LOWER BEARING TEMPERATURE | CWS | P-39 |  | Temp | P-39B Lower Bearing Temp
'A' COOLING TOWER BASIN TEMPERATURE | CWS | CT | TP | Temp | CTA Basin Temp
'A' COOLING TOWER BASIN LEVEL | CWS | CT | TP | Level | CTA Basin Level
'A' C/T EAST SCREEN DIFF LEVEL | CWS | CT |  | Level | CTA E Screen Diff Level
'A' C/T WEST SCREEN DIFF LEVEL | CWS | CT |  | Level | CTA W Screen Diff Level
'B' COOLING TOWER BASIN LEVEL | CWS | CT | TP | Level | CTB Basin Level
'B' COOLING TOWER BASIN TEMPERATURE | CWS | CT | TP | Temp | CTB Basin Temp
HEAT BALANCE POWER | TGS | TGS |  | Power | Heat Balance Power
TURBINE BACKPRESSURE | TGS | TGS | TP | Power | Turbine BackPressure
CONDENSER VACUUM | TGS | CDS | TP | Power | Cond Vac
CT E-30A BASIN LEVEL | CWS | CT | TP | Level | CTA Basin Level
CT E-30B BASIN LEVEL | CWS | CT | TP | Level | CTA Basin Level
TEMPERATURE AT 10 METERS | CWS | CT | TP | Temp | Temp @ 10m
GROSS ELECT. OUTPUT | TGS | TGS | TP | Power | Gross Elect. Output
COOLING TOWER PP P-39A DISCH VLV MO-5305 POSITION | CWS | P-39 | TP | Valve | MO-5305 Position (39A)
COOLING TOWER PP P-39B DISCH VLV MO-5306 POSITION | CWS | P-39 | TP | Valve | MO-5306 Position (39B)
CLG TWR PUMP P-39A MAKEUP BASIN LEVEL IND | CWS | P-39 | TP | Level | P-39A Basin Level
CLG TWR PUMP P-39B MAKEUP BASIN LEVEL IND | CWS | P-39 | TP | Level | P-39B Basin Level
A COOLING TOWER BLOWDOWN FLOW | CWS | CT | TP | Flow | CTA Blowdown Flow
B COOLING TOWER BLOWDOWN FLOW | CWS | CT | TP | Flow | CTB Blowdown Flow
P-39A PUMP DISCHARGE PRESSURE | CWS | P-39 | TP | Valve | P-39A Discharge P
P-39B PUMP DISCHARGE PRESSURE | CWS | P-39 | TP | Valve | P-39B Discharge P
P-39A MOTOR AMPS | CWS | P-39 |  | Amps | P-39A Amps
P-39B MOTOR AMPS | CWS | P-39 |  | Amps | P-39B Amps
P-40A MOTOR AMPS | CWS | P-40 |  | Amps | P-40A Amps
P-40B MOTOR AMPS | CWS | P-40 |  | Amps | P-40B Amps
WEST WATER BOX (A) INLET TEMPERATURE | CDS | CDS | TP | Temp | W WB Inlet Temp
EAST WATER BOX (B) INLET TEMPERATURE | CDS | CDS | TP | Temp | E WB Inlet Temp
WEST WATER BOX (A) OUTLET TEMPERATURE | CDS | CDS | TP | Temp | W WB Oulet Temp
EAST WATER BOX (B) OUTLET TEMPERATURE | CDS | CDS | TP | Temp | E WB Outlet Temp
LAKE INLET TEMPERATURE | CWS | P-40 | TP | Temp | Lake Inlet Temp
GROSS ELECTRICAL OUTPUT | TGS | TGS | TP | Power | Gross Elect. Output
EAST WATER BOX OUTLET TEMPERATURE | CDS | CDS | TP | Temp | E WB Outlet Temp
WEST WATER BOX OUTLET TEMPERATURE | CDS | CDS | TP | Temp | W WB Outlet Temp
WEST WATER BOX INLET TEMPERATURE | CDS | CDS | TP | Temp | W WB Inlet Temp
EAST WATER BOX INLET TEMPERATURE | CDS | CDS | TP | Temp | E WB Inlet Temp
CONDENSER VACUUM-EAST | CDS | CDS | TP | Power | E Cond. Vac
CONDENSER WEST SIDE DIFFERIAL PRESSURE | CDS | CDS | TP | Power | W Cond. Diff P
WEST WATER BOX OUTLET TEMP | CDS | CDS | TP | Temp | W WB Outlet Temp
WEST WATER BOX INLET TEMPERATURE | CDS | CDS | TP | Temp | W WB Inlet Temp
EAST WATER BOX INLET TEMPERTURE | CDS | CDS | TP | Temp | E WB Inlet Temp
EAST WATER BOX INLET TEMPERATURE | CDS | CDS | TP | Temp | E WB Inlet Temp
CONDENSER VACUUM- WEST | CDS | CDS | TP | Power | W Cond. Vac
HUMIDITY | CWS | CT | TP | Temp | Humidity
P-39A CT PUMP SEAL FLOW | CWS | P-39 |  | Temp | P-39A Seal Flow
P-39B CT PUMP SEAL FLOW | CWS | P-39 |  | Temp | P-39B Seal Flow
SERVICE WATER SUPPLY TEMP | SWS | P-40 | TP | Temp | SW Supply Temp
P-40B DISCHARGE PRESS | CWS | P-40 | TP | Valve | P-40A Discharge P
P-40A DISCHARGE PRESS | CWS | P-40 | TP | Valve | P-40B Discharge P
CT PUMP BASIN TO MIX BASIN OVERFLOW | CWS | CT | TP | Flow | P-39 Basin to Mix Overflow
EAST CONDENSER WATER BOX (B) INLET VLV MO-5302 POSITION | CDS | CDS | TP | Valve | MO-5302 (E WB Inlet)
AMBIENT TEMPERATURE (Use PPC Outside Air Temperature) | CWS | CT | TP | Temp | Air Temp
'B' C/T EAST SCREEN DIFF LEVEL | CWS | CT |  | Level | CTB E Screen Diff Level
'B' C/T WEST SCREEN DIFF LEVEL | CWS | CT |  | Level | CTB W Screen Diff Level
CT E-30A FANS OFF | CWS | CT |  | Level | CTA Fans OFF
CT E-30B FANS OFF | CWS | CT |  | Level | CTB Fans OFF
TEMPERATURE AT 10 METERS | CWS | CT | TP | Temp | Temp @ 10m
CONDENSER PRESSURE | CDS | CDS | TP | Power | Cond P
P-39A DISCHARGE VALVE POSITION | CWS | P-39 | TP | Valve | MO-5305 Position (39A)
P-39B DISCHARGE VALVE POSITION | CWS | P-39 | TP | Valve | MO-5306 Position (39B)
P-39A PUMP BASIN LEVEL | CWS | P-39 | TP | Level | P-39A Basin Level
P-39B PUMP BASIN LEVEL | CWS | P-39 | TP | Level | P-39B Basin Level
WATER BOX A INLET TEMPERATURE | CDS | CDS | TP | Temp | W WB Inlet Temp
WATER BOX B INLET TEMPERATURE | CDS | CDS | TP | Temp | E WB Inlet Temp
WATER BOX A OUTLET TEMPERATURE | CDS | CDS | TP | Temp | W WB Outlet Temp
WATER BOX B OUTLET TEMPERATURE | CDS | CDS | TP | Temp | E WB Outlet Temp
A COOLING TOWER BLOWDOWN FLOW | CWS | CT | TP | Flow | CTA Blowdown Flow
B COOLING TOWER BLOWDOWN FLOW | CWS | CT | TP | Flow | CTB Blowdown Flow
P-40A PUMP SUCTION TEMPERATURE | CWS | P-40 | TP | Temp | SW Supply Temp
OUTSIDE AIR TEMP | CWS | CT | TP | Temp | Air Temp
DAILY NET | TGS | TGS | TP | Power | Daily Net
CIRC WATER FLOW A TOWER | CWS | CT | TP | Flow | CTA to Cond. Flow
CIRC WATER FLOW B TOWER | CWS | CT | TP | Flow | CTB to Cond. Flow
'A' TOWER CIRC WATER FLOW TO CONDENSER | CWS | CT | TP | Flow | CTA to Cond. Flow
'B' TOWER CIRC WATER FLOW TO CONDENSER | CWS | CT | TP | Flow | CTB to Cond. Flow
DILUTION PUMP P-40B DISCHARGE PRESS IND | CWS | P-40 | TP | Valve | P-40A Discharge P
DILUTION PUMP P-40A DISCHARGE PRESS IND | CWS | P-40 | TP | Valve | P-40B Discharge P
COOLING TOWER E-30A BASIN WATER TEMP (W.CONDNSR) | CWS | CT | TP | Temp | CTA Basin Temp
COOLING TOWER E-30B BASIN WATER TEMP (E.CONDNSR) | CWS | CT | TP | Temp | CTB Basin Temp
'B' COOLING TOWER FANS | CWS | CT |  | Level | CTB Fans

## Shift List
Shift | Shift Time
Days | 8
Nights | 16
Mode Change 5/6 | 8
90% Power Check
Npo #1
Npo #2
Npo #3
Npo #4
Npo #5
Npo #10
Npo #6
Npo #7
Npo #8
Npo #9
Npo #11
Npo #12
Npo #13
Npo #14
00:00
24% Power Check
29% Power Check
47% Power Check
64% Power Check
A Shift
B Shift
C Shift
0800 (Nights)
0000 (Days)
1600
0000
0800
08:00
16:00
0100
1700
Extra (1)
20:00
Day Shift
Night Shift
Extra (2)
Extra (3)
Not Used | 8